## Bond Estimate
Fauquier County Water & Sanitation Authority 7172 Kennedy Road Warrenton, VA 20187-1646 Phone: (540) 349-2092 Fax: (540) 347-7689
Construction Plans-
Bond Estimate Calculation Sheet
Project Name: |  |  |  |  | Engineer's Initials:
Phase/Section: | [5 empty] | Water Sewer
Item No. | Item Description |  |  | Quantity | Unit | Unit Price | Total Price
Water Construction
6" Water Main
1 | 6" Ductile Iron Pipe (DIP) |  |  |  | LF | 60
8" Water Main/Appurtenances
2 | 8" Ductile Iron Pipe (DIP) |  |  |  | LF | 72
3 | 8" Gate Valve w/ Box |  |  |  | Each | 1200
4 | 8" Tee |  |  |  | Each | 650
5 | 8" Cross |  |  |  | Each | 650
6 | 8" Reducer/Bend |  |  |  | Each | 500
12" Water Main/Appurtenances
7 | 12" Ductile Iron Pipe (DIP) |  |  |  | LF | 96
8 | 12" Gate Valve w/ Box |  |  |  | Each | 2000
9 | 12" Tee |  |  |  | Each | 1000
10 | 12" Cross |  |  |  | Each | 1000
11 | 12" Reducer/Bend |  |  |  | Each | 750
16" Water Main/Appurtenances
12 | 16" Ductile Iron Pipe (DIP) |  |  |  | LF | 120
13 | 16" Butterfly Valve |  |  |  | Each | 4000
14 | 16" Tee |  |  |  | Each | 1750
15 | 16" Cross |  |  |  | Each | 1750
16 | 16" Reducer/Bend |  |  |  | Each | 1000
Connections to Existing Water Lines
17 | 8" thru 12" Wet Tap of Existing Water Line |  |  |  | Each | 4500
18 |  | Wet Tap of Existing Water Line |  |  | Each
19 | Connection to Existing Blow Off |  |  |  | Each | 1500
Jack and Bore with Casing Pipe
20 | Jack and Bore with 24" Casing Pipe |  |  |  | LF | 800
21 | Jack and Bore with 30" Casing Pipe |  |  |  | LF | 1000
22 | Jack and Bore with 36" Casing Pipe |  |  |  | LF | 1400
23 | Bore Pit and Retrieval Pit |  |  |  | Each | 3000
Miscellaneous Water Appurtenances
24 | Fire Hydrant Assembly including Auxilary Valve |  |  |  | Each | 4000
25 | Gravel Bedding |  |  |  | LF | 5
26 | Select Backfill |  |  |  | LF | 5
27 | Erosion & Sedimentation (E&S) Control |  |  |  | LF | 4.5
28 | Pressure Testing & Sampling |  |  |  | LF | 1.5
29 | Air Release Assembly |  |  |  | Each | 3000
30 | Blasting & Rock Excavation |  |  |  | VF/LF | 12
31 | Service Connection incl. Meter Box - 3/4'' |  |  |  | Each | 750
32 | Service Connection incl. Meter Box - 1'' |  |  |  | Each | 1000
33 | Service Connection incl. Meter Box - 1-1/2'' |  |  |  | Each | 2000
34 | Service Connection incl. Meter Box - 2'' |  |  |  | Each | 2500
35 | Combined Meter Vault & Appurtenances |  |  |  | Each | 50000
36 | 2" Temporary Blow Off Assembly |  |  |  | Each | 2000
37 | 4" Blow Off or Flushing Hydrant Assembly |  |  |  | Each | 2500
38 | Easement Restoration |  |  |  | LF | 5
39 | Open Cut Crossing of Existing Road incl. Asphalt |  |  |  | LF | 75
40 | Relocate Existing Hydrant |  |  |  | Each | 2500
Non-Standard Water Main/Appurtenances (with Prior Approval Only)
41 |  | Ductile Iron Pipe (DIP) |  |  | LF
42 |  | Gate Valve |  |  | Each
43 |  | Tee |  |  | Each
44 |  | Cross |  |  | Each
45 |  | Reducer/Bend |  |  | Each
Other
46
47
48
Water Total | [6 empty] | 0
Sanitary Sewer Construction
Force Main
49 | 4" Low Pressure Force Main |  |  |  | LF | 25
Gravity Sanitary Sewer Pipe
50 | 8" C-900 PVC Gravity Sewer |  |  |  | LF | 55
51 | 10" C-900 PVC Gravity Sewer |  |  |  | LF | 65
52 | 12" C-900 PVC Gravity Sewer |  |  |  | LF | 75
53 | 15" C-900 PVC Gravity Sewer |  |  |  | LF | 85
54 | 18" C-900 PVC Gravity Sewer |  |  |  | LF | 95
55 | 8" DIP Gravity Sewer, Less than 10 feet Deep |  |  |  | LF | 65
56 | 8" DIP Gravity Sewer, 10+ Feet Deep |  |  |  | LF | 100
57 | 10" DIP Gravity Sewer, Less than 10 feet Deep |  |  |  | LF | 75
58 | 10" DIP Gravity Sewer, 10+ Feet Deep |  |  |  | LF | 110
59 | 12" DIP Gravity Sewer, Less than 10 feet Deep |  |  |  | LF | 85
60 | 12" DIP Gravity Sewer, 10+ Feet Deep |  |  |  | LF | 120
61 | 16" DIP Gravity Sewer, Less than 10 feet Deep |  |  |  | LF | 95
62 | 16" DIP Gravity Sewer, 10+ Feet Deep |  |  |  | LF | 130
63 | 18" DIP Gravity Sewer, Less than 10 feet Deep |  |  |  | LF | 105
64 | 18" DIP Gravity Sewer, 10+ Feet Deep |  |  |  | LF | 140
Manholes
65 | 4' Inside Diameter, up to 6' Depth |  |  |  | Each | 3500
66 | 4' Inside Diameter, Height Above 6' |  |  |  | VF | 350
67 | 5' Inside Diameter, up to 6' Depth |  |  |  | Each | 5000
68 | 5' Inside Diameter, Height Above 6' |  |  |  | VF | 500
69 | 6' Inside Diameter, up to 6' Depth |  |  |  | Each | 6000
70 | 6' Inside Diameter, Height Above 6' |  |  |  | VF | 600
71 | Manhole Frame & Cover Assembly |  |  |  | Each | 400
72 | Core Connection to Existing Manhole |  |  |  | Each | 1500
73 | Connection by Cut-in of New Manhole |  |  |  | Each | 10000
Manhole Drop Connections
74 | 8" Drop Connection |  |  |  | Each | 1251
75 | 10" Drop Connection |  |  |  | Each | 1312
76 | 12" Drop Connection |  |  |  | Each | 1362
77 | 15" or 16" Drop Connection |  |  |  | Each | 1445
78 | 18" Drop Connection |  |  |  | Each | 1530
Jack and Bore with Casing Pipe
79 | Jack and Bore with 24" Casing Pipe |  |  |  | LF | 800
80 | Jack and Bore with 30" Casing Pipe |  |  |  | LF | 1000
81 | Jack and Bore with 36" Casing Pipe |  |  |  | LF | 1400
82 | Bore Pit and Retrieval Pit |  |  |  | Each | 3000
Miscellaneous Sanitary Sewer Appurtenances
83 | 4" Sanitary Lateral Connection |  |  |  | Each | 1000
84 | 6" Sanitary Lateral Connection |  |  |  | Each | 1200
85 | Gravel Bedding |  |  |  | LF | 6
86 | Select Backfill |  |  |  | LF | 6
87 | Erosion & Sedimentation (E&S) Control |  |  |  | LF | 4.5
88 | Pipe Testing |  |  |  | LF | 1.5
89 | Manhole Testing |  |  |  | Each | 100
90 | Easement Restoration |  |  |  | LF | 4
91 | Concrete Pipe Encasement |  |  |  | LF | 100
92 | Blasting & Rock Excavation |  |  |  | VF/LF | 12
93 | Tunneling |  |  |  | LF | 695
94 | Automatic Air Release/Vacuum Valve |  |  |  | Each | 2500
95 | Grease Trap |  |  |  | Each | 4500
Other
96
97
98
Sanitary Sewer Total | [6 empty] | 0
Bond Estimate Calculation Summary
Water Total = | [5 empty] | 0
Sanitary Sewer Total = | [5 empty] | 0
Sub-Total (Water + Sewer) = | [5 empty] | 0
Mobilization/Demobilization of Construction Equipment = | [5 empty] | 10000
10% Contingency, Overhead, Legal and Administration = | [5 empty] | 0
Total Bond Amount = | [5 empty] | 10000