## Commercial
Fauquier County Water & Sanitation Authority 7172 Kennedy Road, Vint Hill Warrenton, VA 20187-1646 Telephone: (540) 349-2092 Fax: (540) 347-7689
Worksheet for Commercial Water Meter Sizing
Project Name :
Customer / Builder Name :
Property Address :
Fixture | Unit Fixture Value | Number of Fixtures | Fixture Value
Bathtub | 8
Shower Head (Shower Only) | 2.5
Toilet, Tank Type | 4
Toilet, Flushing Valve Type | 35
Bidet | 2
Urinal (Pedestal Flush Valve) | 35
Urinal (Wall Flush Valve) | 16
Urinal (Trough, 2ft Unit) | 2
Bathroom Sink (Lavatory) | 1.5
Kitchen Sink | 2.2
Service Sink | 4
Wash Sink (Each set of Faucets) | 4
Drinking Fountain (Public) | 2
Dishwasher | 2
Washing Machine (1/2" Connection) | 6
Washing Machine (3/4" Connection) | 12
Hose Connection (1/2") | 5
Hose Connection (5/8") | 9
Hose Connection (3/4") | 12
Bedpan Washers | 10
Combination Sink and Tray | 3
Dental Unit | 2
Other (Assign Unit Fixture Value) | 4
COMBINED FIXTURE VALUE |  |  | 0
Peak Domestic Demand |  |  | 0
Dedicated Irrigation Demand | Irrigated Area (SF) | Zones | Irrigation Demand
0
TOTAL FIXED DEMAND (Domestic plus Irrigation) |  |  | 0
REQUIRED WATER METER SIZE

## Demand Table
Fixture Count | Commercial Demand (gpm)
0 | 0
3 | 3
10 | 10
15 | 15
25 | 18
30 | 19
50 | 20
55 | 30
60 | 35
65 | 40
70 | 43
75 | 44
80 | 45
85 | 46
90 | 47
95 | 48
100 | 50
125 | 52
150 | 55
175 | 58
200 | 62
225 | 65
250 | 68
275 | 70
300 | 72
325 | 75
350 | 78
375 | 80
400 | 82
425 | 84
450 | 86
475 | 88
500 | 90
550 | 95
600 | 99
650 | 104
700 | 108
750 | 110
800 | 112
850 | 115
900 | 118
950 | 120
1000 | 122
1050 | 125
1100 | 128
1150 | 130
1200 | 131
1250 | 133
1300 | 134
1500 | 138
1750 | 140
2000 | 142
2250 | 144
2500 | 146
2750 | 148
3000 | 150
3250 | 152
3500 | 154
3750 | 156
4000 | 158
4250 | 160
4500 | 162
4750 | 164
5000 | 166
5250 | 168
5500 | 170
5750 | 172
6000 | 174
6250 | 176
6500 | 178
6750 | 180
7000 | 182
7250 | 184
7500 | 186
7750 | 188
8000 | 190
8250 | 192
8500 | 194
8750 | 196
9000 | 198
9250 | 200
9500 | 202
9750 | 204
10000 | 206
10250 | 208
10500 | 210
10750 | 212
11000 | 214
11250 | 216
11500 | 218
11750 | 220
12000 | 222
12250 | 224
12500 | 226
12750 | 228
13000 | 230
50000 | Custom Design